## Quiz Questions
Question | Option A | Option B | Option C | Option D | Correct Answer
What does the blue button on the LISS do? | Suction | Irrigation | Diathermy | Cut | B
What tissue is evacuated during Vacuum Aspiration? | Cervix | Myometrium | Endometrium | Fundus | C
What pressure range is used for Electric Suction Evacuation? | 400-600mmHg | 100-300mmHg | 200-400mmHg | 600-800mmHg | A
What features does our FMP Rovac Handle have? | Vented | rotational | ON/OFF slider | flexible | C
Which curette range has fenestrated lateral openings? | curved rigid | straight rigid | tubing | flexible | D
Why is rigid wide bore tubing preferred? | durable | all of the above | wont collapse/kink | higher vacuum pressure | B
Which competitor has a curette & tubing set? | Stark Medical | Ebos | ITL Biomedical | Atris | A
Which curette range do we sell the most of? | curved rigid | straight rigid | tubing | flexible | D
What is the design of the Lap scissor blades | curved sharp | curved blunt | straight blunt | straight sharp | B
What type of electrocautery is used with the lap scissor? | Bipolar | none | both | Monopolar | D
What does the shaft do? | rotate 360 | fixed | cut | bend | A
What is the maximum Cautery power? | Cut 300w/ Coag 120w | Cut 500w/ Coag 700w | Cut 100w/ Coag 220w | Cut 1300w/ Coag 1200w | A